## Preventive_Maint._Checklist_v8
Preventive Maintenance Checklist
| Property: Half Moon Village II |  |  |  | Date: |  |  | 09/11/2018
| Unit: 6-6204 |  |  |  | Time Entered: |  |  | 10:17 GMT-07:00
| Unit Size: 1A10 |  |  |  | Time Completed: |  |  | 11:00 GMT-07:00
| Number of Bedrooms: 1 |  |  |  | Date Created: |  |  | 09/12/2018 08:21:54 GMT-07:00
| FRONT ENTRANCE |  |  | ROOMS/CLOSETS |  |  | BATHROOMS
| Exterior Doors |  |  | Bedroom 1 |  |  | Bathroom 1
Good | G | Note overall condition |  | Floor, Door & Walls |  |  | Floor, Door & Walls
Good | G | Test lockset, deadbolt & keys | Good | G | Floor, Door & Walls_Note overall condition | Good | G | Note condition, moisture issues
Good | G | Lube lockset and hinges |  | Windows & Screens |  | Good | G | Recaulk as needed
Good | G | Adjust threshold, hinges | Good | G | Test locks, glides, weather tight |  | Vanity/ Counter
Good | G | Adjust weather stripping, check fit/reveal | Good | G | Note moisture or mildew | Good | G | Note condition, recaulk as needed
Good | G | Door stop | Good | G | Note conditions of screens | Good | G | See cabinets/counters under "kitchen"
| KITCHEN |  |  | Blinds |  |  | Faucet/ Sink
| Cabinets/ Drawers |  | Good | G | Blinds | Good | G | Refer to faucets under "kitchen"
Good | G | Note overall condition |  | Lights, Plugs and Switches |  | Good | G | Test operation of pop up
Good | G | Doors, pulls, hinges, glides, latches | Good | G | Cover plates, test switches |  | Tub
| Counters |  | Good | G | Condition of light fixtures | Good | G | Recaulk
Good | G | Note overall condition | Good | G | Test plug polarity (no loose plug-ins) | Good | G | Handles, cartridge, diverter
Good | G | Seams |  | Closet |  | Good | G | Spout, stopper
Good | G | Backsplash, end piece | Good | G | Doors, rollers, thumb pulls | NA |  | Shower doors
Good | G | Recaulk as needed | Good | G | Guides, dividers | Good | G | Shower head, spray
| Sink/ Faucet |  | Good | G | Closet rods, shelves, brackets |  | Toilet/ Low Flow
Good | G | Handles, no leaks |  | Smoke Alarms |  | Good | G | Test flush cycle
Good | G | Flow, aerator | Good | G | Smoke Alarms | Good | G | Handle, flapper, fill valve
Good | G | Rebuild kit (replace cartridge if necessary) |  | Bedroom 2 |  | Good | G | Supply line, angle stop
Good | G | Sink basket, waste plumbing |  | Floor, Door & Walls |  | Good | G | TP holder, towel bar, hooks
Good | G | Clean out P Trap | NA |  | Floor, Door & Walls_Note overall condition | Good | G | Medicine cabinet interior
Good | G | Angle stops, supply line |  | Windows & Screens |  | Good | G | Condition of mirror
Good | G | Sink base, floor panel of cabinets | NA |  | Test locks, glides, weather tight |  | Exhaust Fan/ Ceiling Moisture
| Garbage Disposal |  | NA |  | Note moisture or mildew | Good | G | Note any evidence of moisture
Good | G | Waste and grinding | NA |  | Note conditions of screens | Good | G | Clean out and test fan
NA |  | Air gap (clean drain if needed) |  | Blinds |  | NA |  | Dehumidifier
Good | G | Sink strainers | NA |  | Blinds |  | Bathroom 2
| Lights |  |  | Lights, Plugs and Switches |  |  | Floor, Door & Walls
Good | G | Light switches (3 way switches) | NA |  | Cover plates, test switches | NA |  | Note condition, moisture issues
Good | G | Fixtures and Lens | NA |  | Condition of light fixtures | NA |  | Recaulk as needed
| Floors & Walls |  | NA |  | Test plug polarity (no loose plug-ins) |  | Vanity/ Counter
Good | G | Floor & Walls_Note overall condition |  | Closet |  | NA |  | Note condition, recaulk as needed
| GFI Outlets |  | NA |  | Doors, rollers, thumb pulls | NA |  | See cabinets/counters under "kitchen"
Good | G | GFI Outlets_Test for proper operations/polarity | NA |  | Guides, dividers |  | Faucet/ Sink
| APPLIANCES |  | NA |  | Closet rods, shelves, brackets | NA |  | Refer to faucets under "kitchen"
| Stove Oven |  |  | Smoke Alarms |  | NA |  | Test operation of pop up
Good | G | Handles/knobs | NA |  | Smoke Alarms |  | Tub
NA |  | Burner spark/even gas flow |  | Bedroom 3 |  | NA |  | Recaulk
Good | G | Oven light |  | Floor, Door & Walls |  | NA |  | Handles, cartridge, diverter
Good | G | Glow bar for oven | NA |  | Floor, Door & Walls_Note overall condition | NA |  | Spout, stopper
Good | G | Tightness of oven door |  | Windows & Screens |  | NA |  | Shower doors
NA |  | Gas leak | NA |  | Test locks, glides, weather tight | NA |  | Shower head, spray
| Range Hood |  | NA |  | Note moisture or mildew |  | Toilet/ Low Flow
Good | G | Range Hood_Fan condition | NA |  | Note conditions of screens | NA |  | Test flush cycle
Good | G | Fire Stops – Check Expiration Date |  | Blinds |  | NA |  | Handle, flapper, fill valve
Good | G | Fire Stops – Locate 2 | NA |  | Blinds | NA |  | Supply line, angle stop
| Refrigerator |  |  | Lights, Plugs and Switches |  | NA |  | TP holder, towel bar, hooks
NA |  | Clean coils | NA |  | Cover plates, test switches | NA |  | Medicine cabinet interior
Good | G | Handle, gaskets, light | NA |  | Condition of light fixtures | NA |  | Condition of mirror
Good | G | Bottom tray, drain line | NA |  | Test plug polarity (no loose plug-ins) |  | Exhaust Fan/ Ceiling Moisture
| Dishwasher |  |  | Closet |  | NA |  | Note any evidence of moisture
NA |  | Dishwasher Cycle, drain, leaks | NA |  | Doors, rollers, thumb pulls | NA |  | Clean out and test fan
| Furnace |  | NA |  | Guides, dividers | NA |  | Dehumidifier
NA |  | Replace filter | NA |  | Closet rods, shelves, brackets |  | Powder Room
NA |  | Clean out cold air return-vacuum inside |  | Smoke Alarms |  |  | Floor, Door & Walls
NA |  | Gas leak | NA |  | Smoke Alarms | NA |  | Note condition, moisture issues
NA |  | Heat exchangers |  | Bedroom 4 |  | NA |  | Recaulk as needed
Good | G | Test operation/T-stat |  | Floor, Door & Walls |  |  | Vanity/ Counter
NA |  | Igniter | NA |  | Floor, Door & Walls_Note overall condition | NA |  | Note condition, recaulk as needed
| T Stat |  |  | Windows & Screens |  | NA |  | See cabinets/counters under "kitchen"
Good | G | Replace Battery | NA |  | Test locks, glides, weather tight |  | Faucet/ Sink
NA |  | Call for heat setback program | NA |  | Note moisture or mildew | NA |  | Refer to faucets under "kitchen"
| Water Heater |  | NA |  | Note conditions of screens | NA |  | Test operation of pop up
NA |  | Gas or Water Leak |  | Blinds |  |  | Toilet/ Low Flow
NA |  | Temperature Setting (120 degrees) | NA |  | Blinds | NA |  | Test flush cycle
NA |  | Cleared control areas |  | Lights, Plugs and Switches |  | NA |  | Handle, flapper, fill valve
NA |  | Drain unit | NA |  | Cover plates, test switches | NA |  | Supply line, angle stop
NA |  | Strapping, insulation, flue | NA |  | Condition of light fixtures | NA |  | TP holder, towel bar, hooks
| Air Conditioning |  |  |  | Test plug polarity (no loose plug-ins) | NA |  | Medicine cabinet interior
Good | G | Air Conditioning |  | Closet |  | NA |  | Condition of mirror
| LIVING ROOM |  | NA |  | Doors, rollers, thumb pulls |  | Exhaust Fan/ Ceiling Moisture
Good | G | Note overall condition | NA |  | Guides, dividers |  |  | Exhaust Fan/Ceiling Moisture_Clean out and test fan
| Windows & Screens |  | NA |  | Closet rods, shelves, brackets | NA | MISC.
Good | G | Test locks, glides, weather tight |  | Smoke Alarms |  | Good | G | Pest issues
Good | G | Note moisture or mildew | NA |  | Smoke Alarms | Good | G | Fire sprinkler issues
Good | G | Note conditions of screens |  | STAIRWELL |  | NA |  | Storage closet rods, shelves, brackets
| Blinds |  | NA |  | Handrail secure |  | COMMENTS
Good | G | Check operation and condition | NA |  | No trip hazards at stairs | Good | G | Smoke alarms
| Lights, Plugs and Switches |  |  | EXTERIOR PATIOS |  | Good | G | Carpet cleaning
Good | G | Cover plates, test switches | Good | G | Overall condition, slab, fencing | Good | G | Improper storage
Good | G | Condition of light fixtures | NA |  | Sliding glass doors | Good | G | Mildew
Good | G | Test plug polarity (no loose plug-ins) | Good | G | Check locks, vacuum track & lube parts | Good | G | Permanently mounting items to a building or fence
| Closet |  | Good | G | Lights, plugs, switches | Good | G | Tenant damage noted
Good | G | Doors, latch, strike plate | Good | G | Deck coatings, nail pops | Good | G | Covering on deck surface
NA |  | Guides, dividers |  |  |  | Good | G | Overall clutter
Good | G | Closet rods, shelves, brackets |  |  |  | Good | G | Improper AC unit
| Smoke Detectors |  |  |  |  | Good | G | Locks on interior doors
Good | G | Change battery, mark date, test unit |  |  |  | Good | G | Caulking
Good | G | CO Detector |  |  |  | Good | G | Painting
NA |  | 10 Year Lithium |  |  |  | Good | G | Wall repairs
Notes:

## Unit Inspection Grading_v1.5
Unit Inspection Grading
| Property Name: Half Moon Village II | [6 empty] | Date: 09/11/2018
| Unit: 6-6204 | [6 empty] | Unit Type: 1A10
| Inpected By: PM Crew 2 | [6 empty] | Date Created: 09/12/2018 08:21:54 GMT-07:00
| Living Area |  |  |  | Bath 1 |  |  | Bedroom 1
Good | 2 | Entry Door | Good |  | 2 | Flooring | Good | 2 | Flooring
Good | 2 | Carpet | Good |  | 2 | Paint | Good | 2 | Paint
Good | 2 | Paint | Good |  | 2 | Vanity | Good | 2 | Light/ Fan
Good | 2 | Light/ Fan | Good |  | 2 | Top | Good | 2 | Window
Good | 2 | Blinds | Good |  | 2 | Sink | Good | 2 | Blinds
Good | 2 | Window | Good |  | 2 | Faucet |  | Bedroom 2
Good | 2 | HVAC | Good |  | 2 | Toilet | NA |  | Flooring
| Kitchen |  | Good |  | 2 | Tub/ Surround | NA |  | Paint
Good | 2 | Flooring | Good |  | 2 | Fan | NA |  | Light/ Fan
Good | 2 | Paint | NA |  |  | Window | NA |  | Window
Good | 2 | Cabinets | NA |  |  | Blinds | NA |  | Blinds
Good | 2 | Countertop |  |  | Bath 2 |  |  | Bedroom 3
Good | 2 | Sink | NA |  |  | Flooring | NA |  | Flooring
Good | 2 | Faucet | NA |  |  | Paint | NA |  | Paint
Good | 2 | Stove | NA |  |  | Vanity | NA |  | Light/ Fan
Good | 2 | Range Hood | NA |  |  | Top | NA |  | Window
Good | 2 | Refrigerator | NA |  |  | Sink | NA |  | Blinds
NA |  | Dishwasher | NA |  |  | Faucet |  | Bedroom 4
Good | 2 | Garbage Disposal | NA |  |  | Toilet | NA |  | Flooring
NA |  | Window | NA |  |  | Tub/ Surround | NA |  | Paint
NA |  | Blinds | NA |  |  | Fan | NA |  | Light/ Fan
| Powder |  | NA |  |  | Window | NA |  | Window
NA |  | Flooring | NA |  |  | Blinds | NA |  | Blinds
NA |  | Paint
NA |  | Vanity | [5 empty] | 1 | New looks new
NA |  | Top | [5 empty] | 2 | Good does not require repair
NA |  | Sink | [5 empty] | 3 | Fair replace if upgrade planned
NA |  | Faucet |  |  | Housekeeping |  |  | 4 | Poor should be replaced
NA |  | Toilet | Good |  | 2 | General |  | 5 | Replace must be replaced
| Appliance |  |  | Make |  | Model | Serial # |  | Serial #
Air Conditioner
DishWasher
Dryer
Furnace
Microwave
| Range |  |  | Whirpool |  | Wfc150m0ew0 | R51221625 | R51221625
| Refrigerator |  |  | Whirpool |  | Wrt134tfdw00 | Vs50544337 | Vs50544337
Washer
Water Heater

## Work_Order_Log_ver1.2_Incomp
Preventive Maintenance Crew Work Order Log (Not Completed WOs)
Unit: 6-6204 |  |  | Date : 09/11/2018
Property: Half Moon Village II |  |  | Date Created: 09/12/2018 08:21:54 GMT-07:00
Item # | Location | Item | Deficiency (replace, clean etc.) | Description of Work | Completed | Tenant Damage |  | High Priority
1 | Unit Interior | Other | Other Work | Replaced smoke alarm batteries throughout & tested | Yes | No | No | No | Yes | Unit Interior
2 | Kitchen | Counter Top | Repair | Caulked counter back splash | Yes | No | No | No | Yes | Kitchen
3 | Kitchen | Lighting/Outlet | Repair | Tightened GFCI outlets | Yes | No | No | No | Yes | Kitchen
4 | Bathroom 1 | Exhaust Fan | Repair | Vacuumed | Yes | No | No | No | Yes | Bathroom 1
5 | Bathroom 1 | Toilet | Repair | Replaced fill valve & tightened tank handle and toilet seat | Yes | No | No | No | Yes | Bathroom 1
6 | Bathroom 1 | Sink | Repair | Reattached pop up plug, removed hair from drain & replaced faucet aerator to 0.05 gpm | Yes | No | No | No | Yes | Bathroom 1
7 | Bathroom 1 | Lighting/Outlet | Repair | Tightened GFCI outlet | Yes | No | No | No | Yes | Bathroom 1
8 | Living/Dining Room | Lighting/Outlet | Repair | Tightened outlets | Yes | No | No | No | Yes | Living/Dining Room
9 | Living/Dining Room | Unit Systems | Clean | Vacuumed A/C filters | Yes | No | No | No | Yes | Living/Dining Room
10 | Living/Dining Room | Door | Repair | Adjusted door closer | Yes | No | No | No | Yes | Living/Dining Room
11 |  |  |  |  | No | No | No |  | No
12 |  |  |  |  | No | No | No |  | No
13 |  |  |  |  | No | No | No |  | No
14 |  |  |  |  | No | No | No |  | No
15 |  |  |  |  | No | No | No |  | No
16 |  |  |  |  | No | No | No |  | No
17 |  |  |  |  | No | No | No |  | No
18 |  |  |  |  | No | No | No |  | No
19 |  |  |  |  | No | No | No |  | No
20 |  |  |  |  | No | No | No |  | No
21 |  |  |  |  | No | No | No |  | No
22 |  |  |  |  | No | No | No |  | No
23 |  |  |  |  | No | No | No |  | No
24 |  |  |  |  | No | No | No |  | No
25 |  |  |  |  | No | No | No |  | No
Notes:

## Work_Order_Log_ver1.2_Complete
Preventive Maintenance Crew Work Order Log (Completed WOs)
Unit: 6-6204 |  |  | Date : 09/11/2018
Property: Half Moon Village II |  |  | Date Created: 09/12/2018 08:21:54 GMT-07:00
Item # | Location | Item | Deficiency (replace, clean etc.) | Description of Work | Completed | Tenant Damage |  | High Priority
1 | Unit Interior | Other | Other Work | Replaced smoke alarm batteries throughout & tested | Yes | No | No | No | Yes | Unit Interior
2 | Kitchen | Counter Top | Repair | Caulked counter back splash | Yes | No | No | No | Yes | Kitchen
3 | Kitchen | Lighting/Outlet | Repair | Tightened GFCI outlets | Yes | No | No | No | Yes | Kitchen
4 | Bathroom 1 | Exhaust Fan | Repair | Vacuumed | Yes | No | No | No | Yes | Bathroom 1
5 | Bathroom 1 | Toilet | Repair | Replaced fill valve & tightened tank handle and toilet seat | Yes | No | No | No | Yes | Bathroom 1
6 | Bathroom 1 | Sink | Repair | Reattached pop up plug, removed hair from drain & replaced faucet aerator to 0.05 gpm | Yes | No | No | No | Yes | Bathroom 1
7 | Bathroom 1 | Lighting/Outlet | Repair | Tightened GFCI outlet | Yes | No | No | No | Yes | Bathroom 1
8 | Living/Dining Room | Lighting/Outlet | Repair | Tightened outlets | Yes | No | No | No | Yes | Living/Dining Room
9 | Living/Dining Room | Unit Systems | Clean | Vacuumed A/C filters | Yes | No | No | No | Yes | Living/Dining Room
10 | Living/Dining Room | Door | Repair | Adjusted door closer | Yes | No | No | No | Yes | Living/Dining Room
11 |  |  |  |  | No | No | No |  | No
12 |  |  |  |  | No | No | No |  | No
13 |  |  |  |  | No | No | No |  | No
14 |  |  |  |  | No | No | No |  | No
15 |  |  |  |  | No | No | No |  | No
16 |  |  |  |  | No | No | No |  | No
17 |  |  |  |  | No | No | No |  | No
18 |  |  |  |  | No | No | No |  | No
19 |  |  |  |  | No | No | No |  | No
20 |  |  |  |  | No | No | No |  | No
21 |  |  |  |  | No | No | No |  | No
22 |  |  |  |  | No | No | No |  | No
23 |  |  |  |  | No | No | No |  | No
24 |  |  |  |  | No | No | No |  | No
25 |  |  |  |  | No | No | No |  | No
Notes:

## Work_Order_Log_ver1.2_Pictures
Preventive Maintenance Crew Work Order Log
Unit: 6-6204 | Date : 09/11/2018
Property: Half Moon Village II | Date Created: 09/12/2018 08:21:54 GMT-07:00

## Water Heater Log
Water Heater Log
Property: Half Moon Village II | [8 empty] | Date: 09/11/2018
Unit: 6-6204 | [8 empty] | Date Created: 09/12/2018 08:21:54 GMT-07:00
Inspected By: PM Crew 2
Floor | Pan? | Date Installed | Mfgr. | Model | Serial Number | Capacity (In Gallons) | Piping Condition 1-5 | Water Heater Condition 1-5 | Comments
No

## Notice Prop Cond
PM Crew Notice of Property Conditions
| Date: | 09/11/2018
Property and Unit: Half Moon Village II 6-6204
The following health and safety concerns, violations of the lease, house rules**, or fire code violations*** have been discovered:
| Health and Safety: |  | House Rules Violations:
NA
Lease Violations:
NA |  |  | Fire Code Violations:
NA
Explanation:
Please research and send any necessary violation notice.
|  | Signature – PM Crew Representative |  | Date